LASCO/EIT Operations Status
Daily Reports --  Current Status
-----------------------------
Bogart synoptic = EIT synops every 12 hours at 01:00 and 13:00 UT
		  C2 at 12 minute cadence beginning at :00 minutes
		  C2 at 12 minute cadence beginning at :06 minutes
		  C2-C3 orange/blue filters daily 

Weekly, Dark Cal Images (Fri) C1,C2,C3 at 0 and 60 Sec, EIT at 0 and 3 sec. 
(Fri) C2,C3 SeqPW Deep Red Polarizer Sequence 
(Fri) C2,C3 SeqPw Color Sequence Images, 2x2 binned (03:00 UT)
-------------------------------------------------------------------------------
31-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	15:09 UT uplinked l_set_lobt (set Lasco time)

30-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

29-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

28-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]	

27-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	14:06 UT uplinked l_set_lobt (set Lasco time)
	
26-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

25-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

24-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	14:42 UT uplinked l_set_lobt (set Lasco time)

23-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	21:16 UT uplinked l_set_lobt (set Lasco time)

22-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

21-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]
	
20-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	14:15 UT uplinked l_set_lobt (set Lasco time)

19-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180] 

18-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

17-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	17:07 UT uplinked l_set_lobt (set Lasco time)

16-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	15:31UT uplinked l_set_lobt (set Lasco time)

15-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180] 

	13:40 UT uplinked l_set_lobt (set Lasco time)
	
	13:43 UT take_sequence uploaded

14-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]
	
13-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	14:16 UT uplinked l_set_lobt (set Lasco time)

12-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

11-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180] 

10-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	16:08 UT uplinked l_set_lobt (set Lasco time)

09-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]
		                                                                                                  
08-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]	
	
07-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

06-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	17:11UT uplinked l_set_lobt (set Lasco time)

05-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]
	
04-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

03-October-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	14:11 UT uplinked l_set_lobt (set Lasco time)
	       
02-October-2017  (Bogart synoptics) TM submode 6; [S/C-180]
	
01-October-2017  (Bogart synoptics) TM submode 6; [S/C-180]