LASCO/EIT Operations Status
Daily Reports --  Current Status
-----------------------------
Bogart synoptic = EIT synops every 12 hours at 01:00 and 13:00 UT
		  C2 at 12 minute cadence beginning at :00 minutes
		  C2 at 12 minute cadence beginning at :06 minutes
		  C2-C3 orange/blue filters daily 

Weekly, Dark Cal Images (Fri) C1,C2,C3 at 0 and 60 Sec, EIT at 0 and 3 sec. 
(Fri) C2,C3 SeqPW Deep Red Polarizer Sequence 
(Fri) C2,C3 SeqPw Color Sequence Images, 2x2 binned (03:00 UT)
-------------------------------------------------------------------------------

30-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

29-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	11:21-13:18 UT LEB REBOOT
	01:57 hrs data gap (11:21 - 13:18 UT)

28-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]	

27-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]
	
26-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	15:43 UT uplinked l_set_lobt (set Lasco time)

25-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

24-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

23-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

22-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	05:32-14:42 UT LEB REBOOT
	10:48 hrs data gap (03:54 - 14:42 UT)
	
	14:51 UT take_sequence uploaded

21-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	14:54 UT uplinked l_set_lobt (set Lasco time)

20-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

19-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180] 

18-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	16:00 UT uplinked l_set_lobt (set Lasco time)

17-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

16-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

15-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180] 

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	15:59 UT uplinked l_set_lobt (set Lasco time)

14-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]
	
13-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

12-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	19:19 UT uplinked l_set_lobt (set Lasco time)

11-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180] 

10-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

09-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]
		                                                                                                  
08-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	19:36 UT uplinked l_set_lobt (set Lasco time)
	
07-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

06-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

05-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

	15:11 UT uplinked l_set_lobt (set Lasco time)
	
04-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]

03-September-2017  (Bogart synoptics) TM Submode 6; [S/C-180]
	       
02-September-2017  (Bogart synoptics) TM submode 6; [S/C-180]
	
01-September-2017  (Bogart synoptics) TM submode 6; [S/C-180]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	16:05 UT uplinked l_set_lobt (set Lasco time)