LASCO/EIT Operations Status
Daily Reports --  Current Status
-----------------------------
Bogart synoptic = EIT synops every 12 hours at 01:00 and 13:00 UT
		  C2 at 12 minute cadence beginning at :00 minutes
		  C2 at 12 minute cadence beginning at :06 minutes
		  C2-C3 orange/blue filters daily 

Weekly, Dark Cal Images (Fri) C1,C2,C3 at 0 and 60 Sec, EIT at 0 and 3 sec. 
(Fri) C2,C3 SeqPW Deep Red Polarizer Sequence 
(Fri) C2,C3 SeqPw Color Sequence Images, 2x2 binned (03:00 UT)
-------------------------------------------------------------------------------

28-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]	

27-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]

26-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]

	18:02 UT uplinked l_set_lobt (set Lasco time)

25-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]

24-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]

23-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	16:13 UT uplinked l_set_lobt (set Lasco time)

22-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]

21-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]
	
20-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]

	16:11 UT uplinked l_set_lobt (set Lasco time)

19-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180] 

18-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]

17-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]

	TAKE NORMAL image anomaly
		images stopped at 11:54 UT
		images resumed at 17:48 UT
		data loss (5 hr: 54 min)

16-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	14:46 UT uplinked l_set_lobt (set Lasco time)

15-February-2018  (Bogart synoptics) TM Submode 6; [S/C-180] 

14-February-2018  (Bogart synoptics) TM Submode 5; [S/C-180]

	17:00 - 22:00 UT SOHO MANEUVERS (station keep, momentum management, roll to 180 deg) 
	Telemetry Keyhole #61 ends
	23:00 UT Transition TM Submode 5 -> 6

13-February-2018  (Bogart synoptics) TM Submode 5; [S/C-0]

12-February-2018  (Bogart synoptics) TM Submode 5; [S/C-0]

	20:28 UT uplinked l_set_lobt (set Lasco time)

11-February-2018  (Bogart synoptics) TM Submode 5; [S/C-0] 

10-February-2018  (Bogart synoptics) TM Submode 5; [S/C-0]

09-February-2018  (Bogart synoptics) TM Submode 5; [S/C-0]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

08-February-2018  (Bogart synoptics) TM Submode 5; [S/C-0]

	Telemetry KEYHOLE #61 begins
	13:45 UT Transition TM Submode 6 -> 5
	14:02 UT uplinked l_set_lobt (set Lasco time)	

07-February-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

06-February-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

05-February-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

	15:39 UT uplinked l_set_lobt (set Lasco time)
	
04-February-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

03-February-2018  (Bogart synoptics) TM Submode 6; [S/C-0]
	       
02-February-2018  (Bogart synoptics) TM submode 6; [S/C-0]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	20:38 UT uplinked l_set_lobt (set Lasco time)
	
01-February-2018  (Bogart synoptics) TM submode 6; [S/C-0]