LASCO/EIT Operations Status
Daily Reports --  Current Status
-----------------------------
Bogart synoptic = EIT synops every 12 hours at 01:00 and 13:00 UT
		  C2 at 12 minute cadence beginning at :00 minutes
		  C2 at 12 minute cadence beginning at :06 minutes
		  C2-C3 orange/blue filters daily 

Weekly, Dark Cal Images (Fri) C1,C2,C3 at 0 and 60 Sec, EIT at 0 and 3 sec. 
(Fri) C2,C3 SeqPW Deep Red Polarizer Sequence 
(Fri) C2,C3 SeqPw Color Sequence Images, 2x2 binned (03:00 UT)
-------------------------------------------------------------------------------

30-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

	23:06 UT C3 Sector Hang - LEB reset @ 07/01 00:18 UT 

29-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

	18:03 UT uplinked l_set_lobt (set Lasco time)

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

28-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]	

27-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

26-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

25-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

	14:29 UT uplinked l_set_lobt (set Lasco time)

24-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

23-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

22-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

	16:04 UT uplinked l_set_lobt (set Lasco time)

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

21-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]
	
20-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

19-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

18-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]
	
	18:17 UT uplinked l_set_lobt (set Lasco time)

17-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

16-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

	LASCO/EIT Annual Calibrations Friday 06/15 16:44 to Saturday 06/16 17:37

15-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0] 

	16:26 UT uplinked l_set_lobt (set Lasco time)
	LASCO/EIT Annual Calibrations Friday 06/15 16:44 to Saturday 06/16 17:37

14-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

13-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

12-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

11-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0] 

	15:50 UT uplinked l_set_lobt (set Lasco time)

10-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

09-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]
		                                                                                                  
08-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

	18:22 UT uplinked l_set_lobt (set Lasco time)

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

07-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

06-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

05-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]
	
04-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]

	13:34 UT uplinked l_set_lobt (set Lasco time)

03-June-2018  (Bogart synoptics) TM Submode 6; [S/C-0]
	       
02-June-2018  (Bogart synoptics) TM submode 6; [S/C-0]
	
01-June-2018  (Bogart synoptics) TM submode 6; [S/C-0]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.