LASCO/EIT Operations Status
Daily Reports --  Current Status
-----------------------------
Bogart synoptic = EIT synops every 12 hours at 01:00 and 13:00 UT
		  C2 at 12 minute cadence beginning at :00 minutes
		  C2 at 12 minute cadence beginning at :06 minutes
		  C2-C3 orange/blue filters daily 

Weekly, Dark Cal Images (Fri) C1,C2,C3 at 0 and 60 Sec, EIT at 0 and 3 sec. 
(Fri) C2,C3 SeqPW Deep Red Polarizer Sequence 
(Fri) C2,C3 SeqPw Color Sequence Images, 2x2 binned (03:00 UT)
-------------------------------------------------------------------------------

31-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

30-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

29-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	17:12 UT uplinked l_set_lobt (set Lasco time)

28-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]	

27-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

26-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

	18:25 UT uplinked l_set_lobt (set Lasco time)

25-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

24-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

23-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

22-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	17:09 UT uplinked l_set_lobt (set Lasco time)

21-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]
	
20-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

19-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0] 

18-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

	18:34 UT uplinked l_set_lobt (set Lasco time)

17-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

16-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

15-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0] 

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

14-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

	19:45 UT uplinked l_set_lobt (set Lasco time)
	
13-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

12-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

11-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0] 

10-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

	TAKE NORMAL image anomaly
		images stopped at 03:42 UT
		images resumed at 19:31 UT
		data loss (15 hr: 49 min)

	19:26 UT uplinked l_set_lobt (set Lasco time)

09-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]
		                                                                                                  
08-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]	

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	12:45 UT uplinked l_set_lobt (set Lasco time)

07-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

06-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

05-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

	13:30 UT uplinked l_set_lobt (set Lasco time)
	
04-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]

03-December-2017  (Bogart synoptics) TM Submode 6; [S/C-0]
	       
02-December-2017  (Bogart synoptics) TM submode 6; [S/C-0]

	TAKE NORMAL image anomaly
		images stopped at 09:54 UT
		images resumed at 14:10 UT
		data loss (4 hr: 16 min)

	14:10 UT take_sequence uploaded
	
01-December-2017  (Bogart synoptics) TM submode 6; [S/C-0]

	Weekly C2,C3,EIT dark images taken.
           Weekly EIT calibration lamps x2 taken.
           Weekly C2,C3 SeqPW color sequence taken.
           Weekly C2,C3 SeqPW deep red filter polarizer sequence taken.

	19:02 UT uplinked l_set_lobt (set Lasco time)